WTFD Skill Sheet

Assure Prism Glucometer

| ## Student Name: |  | ## Date: |  |
| --- | --- | --- | --- |

Objectives	Demonstrate competency with the Assure Prism and One Touch Ultra Glucometer

Understands when to use the Glucometer

Indications

Glucometer testing is called for when a patient has a change in mental status, is feeling weak or when stroke symptoms occur.  It should be used in accordance with local protocol.

Resources

| - Assure Prism Glucometer - One Touch Ultra Glucometer - Test Subject - Test Strip Log Book - Alcohol Preps - Lancets | - Gloves - Computer for Tutorial Videos - Test Solution(s) - Test Strips - Band Aids |
| --- | --- |

Always follow manufacturer’s recommendations and local standard operating procedures (SOPs) when performing all skills. Students must properly wear appropriate PPE when performing this skill.

Skill Sheet 
Assure Prism Glucometer

| Task Steps |  | Yes | No |
| --- | --- | --- | --- |
|  | The Assure Prism Glucometer |  |  |
| 1. | Locates the Glucometer Test Strip Log |  |  |
| 2. | Explains how to test a new batch of test strips and how to record in logbook |  |  |
| 3. | Demonstrates how to change glucometer batteries |  |  |
| 4. | Demonstrates how to turn meter on and off |  |  |
| 5. | Demonstrate how to enter Set Up Mode on glucometer |  |  |
| 6. | Demonstrate how to change the date, time and sound on glucometer |  |  |
| Task Steps |  | Yes | No |
|  | Using Assure Prism Glucometer |  |  |
| 1. | Locates a proper test site on patient |  |  |
| 2. | Cleans the test site appropriately |  |  |
| 3. | Before testing begins, allows the test site to dry |  |  |
| 4. | Readies equipment, selects a test strip and correctly inserts it into the glucometer |  |  |
| 5. | Verbalizes when the glucometer indicates it is ready to receive a blood sample |  |  |
| 6. | Uses a lancet to lance the test area and lets patient know before doing so |  |  |
| 7. | Verbalizes appropriate blood sample size needed (0.5 microliters) |  |  |
| 8. | Disposes of lancet in biohazard sharps container |  |  |
| 9. | With the test strip at a 90 Degree angle to the test site, approaches blood sample and contacts the sample with the test strip |  |  |
| 10. | Verbalizes what an error code on the glucometer means |  |  |
| 11. | Demonstrates how to turn on the Glucometers backlight |  |  |
| 12. | Demonstrates how to eject the test strip into a sharps container |  |  |
| 13. | Demonstrate how to retrieve a prior reading from the glucometer memory |  |  |
| 14. | Demonstrates the above steps using the back-up One Touch Ultra Glucometer |  |  |

Criteria & Evaluation Comments

After the student has completed the skill sheet, write comments below.

Evaluator/Student Comments

| Pass |  |  | Fail |  |
| --- | --- | --- | --- | --- |

| Evaluator Signature | Date |  | Student Signature | Date |
| --- | --- | --- | --- | --- |